## Sheet1
Sr.No. | Invoice Date | Invoice Number | Supplier Name | Part Number | Description | Quantity | Unit Price | Disc | Total Price
1 | 29/07/22 | QE009837 | BPX | 13975 | SCHNEIDER KAEDRA 3 MODULE ENCLOSURE | 2 | 8.01 | 30.00 | 11.21
2 |  |  |  | 13441 | SCHNEIDER - KAEDRA 4 MOD INS ENCLOSURE NO. SAREL - ENN82002) | 2 | 16.96 | 30.00 | 23.74
3 |  |  |  | 13442 | SCHNEIDER KAEDRA 6 MOD INS ENCLOSURE SAREL ENN82003) | 2 | 25.04 | 30.00 | 35.06
4 |  |  |  | 13443 | SCHNEIDER KAEDRA 8 MODULE ENCLOSURE | 2 | 32.17 | 30.00 | 45.04
5 |  |  |  | 13444 | SCHNEIDER Kaedra 12 Mod Ins Enclosure IP65 | 2 | 38.1 | 30.00 | 53.34
6 |  |  |  | 13432 | Schneider - Kaedra 1 row 18 mod ins enclosure | 2 | 71.57 | 30.00 | 100.2
7 |  |  |  | 13433 | SCHNEIDER Kaedra 2 row 24 mod ins enclosure | 2 | 99.28 | 30.00 | 138.99
8 |  |  |  | 13435 | SCHNEIDER KAEDRA 3 ROW 36 MOD INS ENCLOSURE | 2 | 116.59 | 30.00 | 163.23
9 |  |  |  | 13436 | Schneider KAEDRA ENCLOSURE 3X18 MOD | 2 | 178.93 | 30.00 | 250.5
10 |  |  |  | VCCF0 | SCHNEIDER DISCONNECT SWITCH 25A 3P KIT AND SHAFT DOOR INTERLOCK PLATE AN D INCOMING SHROUD | 4 | 34.27 | 40.00 | 82.25
11 |  |  |  | VCCF1 | SCHNEIDER DISCONNECT SWITCH 32A 3P KIT SHAFT DOOR INTERLOCK PLATE AND IN COMING SHROUD | 4 | 34.05 | 40.00 | 81.72
12 |  |  |  | VCCF2 | SCHNEIDER DISCONNECT SWITCH 40A 3P KIT SHAFT DOOR INTERLOCK PLATE AND IN COMING TERMINAL SHROUD | 4 | 59.8 | 40.00 | 143.52
13 |  |  |  | VCCF3 | SCHNEIDER DISCONNECT SWITCH 63A 3P KIT SHAFT DOOR INTERLOCK PLATE AND IN COMING TERMINAL SHROUD | 4 | 61.13 | 40.00 | 146.71
14 |  |  |  | VCCF4 | SCHNEIDER DISCONNECT SWITCH 80A 3P KIT SHAFT DOOR INTERLOCK PLATE AND IN COMING SHROUD | 3 | 77.68 | 40.00 | 139.82
15 |  |  |  | VCCF5 | SCHNEIDER DISCONNECT SWITCH 125A 3P KIT HANDLE SHAFT DOOR INTERLOCK PLATE AND COMING TERMINAL SHROUD | 2 | 122.42 | 40.00 | 146.9
16 |  |  |  | VCCF6 | SCHNEIDER DISCONNECT SWITCH 175A 3P KIT HANDLE SHAFT DOOR INTERLOCK PLATE AND COMING TERMINAL SHROUD | 1 | 187.95 | 40.00 | 112.77
17 |  |  |  | VZ11 | SCHNEIDER VARIO NEUTRAL MODULE | 1 | 15.54 | 40.00 | 9.32
18 |  |  |  | VZ12 | SCHNEIDER VARIO NEUTRAL MODULE | 1 | 22.78 | 40.00 | 13.67
19 |  |  |  | VZ13 | SCHNEIDER NEUTRAL POLE | 1 | 33.04 | 40.00 | 19.82
20 |  |  |  | VZ14 | SCHNEIDER EARTH MODULE | 1 | 14.96 | 40.00 | 8.98
21 |  |  |  | VZ15 | SCHNEIDER EARTH MODULE | 1 | 19.94 | 40.00 | 11.96
22 |  |  |  | VZ16 | SCHNEIDER EARTH MODULE | 1 | 26.72 | 40.00 | 16.03
23 |  |  |  | 1562170000 | Weidmuller WPD105 Power Ditribtion Block 125A | 10 | 26.12 | 20.00 | 208.96
24 |  |  |  | 1562210000 | WEIDMULLER DISTRIBUTION BLOCK WPD106 WPD106 1X70/2X25+3X16GY | 10 | 31.7 | 20.00 | 253.6
25 |  |  |  | 1562220000 | WEIDMULLER DISTRIBUTION BLOCK WPD107 WPD 107 1X95/2X35+8X25 GY | 10 | 39.64 | 20.00 | 317.12
26 |  |  |  | 1562100000 | WEIDMULLER WPD 108 DISTRIBUTION BLOCK 1X120/2X35+3X25+4X16 GY | 10 | 52.51 | 20.00 | 420.08
27 |  |  |  | 1561960000 | Weidmuller Cross connector for WPD 105 WQB WPD X05/2 | 10 | 6.85 | 20.00 | 54.8
28 |  |  |  | 1240840000 | WEIDMULLER 5 PORT UNMANAGED SWITCH IE-SW-BL05-5TX | 5 | 102.7 | 20.00 | 410.8
29 |  |  |  | 1240900000 | Weidmuller 8 Port Unmanaged Switch | 5 | 144.98 | 20.00 | 579.92
30 |  |  |  | 2580180000 | WEIDMULLER PRO INSTA 16W 24V | 1 | 30.8 | 25.00 | 23.1
31 |  |  |  | 1469470000 | WEIDMULLER PRO ECO PSU 72W 24V 3A | 4 | 64.7 | 25.00 | 194.1
32 |  |  |  | 1469480000 | WEIDMULLER PRO ECO PSU 120W 24V 5A | 4 | 77.61 | 30.00 | 217.31
33 |  |  |  | 1469490000 | WEIDMULLER PRO ECO PSU 240W 24V 10A | 2 | 131.96 | 25.00 | 197.94
34 |  |  |  | ABL8RPS24030 | Schneider Electric regulated SMPS - 1 or 2-phase 100..500 V - 24 V - 3 A | 3 | 202.64 | 40.00 | 364.75
35 |  |  |  | ABL8RPS24050 | Schneider Electric regulated SMPS - 1 or 2-phase 100..500 V - 24 V - 5 A | 3 | 255.3 | 40.00 | 459.54
36 |  |  |  | ABL8RPS24100 | Schneider Electric regulated SMPS - 1 or 2-phase 100..500 V - 24 V - 10 A | 3 | 338.55 | 40.00 | 609.39
37 |  |  |  | 7F20/8230/1020 | Finder Filter fan, size 1. 230VAC air volume 24 m3/h Rated power 13 W | 2 | 61.13 | 60.00 | 48.9
38 |  |  |  | 7F20/9024/1020 | Finder Filter fan, size 1. 24VDC air volume 24 m3/h.Rated power 3.6 W | 2 | 67.76 | 60.00 | 54.21
39 |  |  |  | 7F02/0000/1000 | Finder Exhaust filter, size 1 | 4 | 10.24 | 60.00 | 16.38
40 |  |  |  | 7F20/8230/2055 | Finder Filter fan, size 2. 230VAC, Filter Fan - 230 V, Size 2 (125 x 125) mm, AC (50/ | 2 | 66.45 | 60.00 | 53.16
41 |  |  |  | 7F20/9024/2055 | Finder (7F.20.9.024.2055) 24VDC Fan size 2 125x125 Filter Fan - 24 V, Size 2 (125 x 125) mm, DC, Blac k RAL 9004, 55 mc/h, Filter Fan - for indoor use | 2 | 74.84 | 60.00 | 59.87
42 |  |  |  | 7F02/0000/2000 | Finder Exhaust Filter Size 2 125x125 Colour: White EMC-version: no Filter class: G3 Material: Plastic Protection category: IP54 Ambient temperature during operating: from -15 to 55 C. With filter mat | 4 | 11.89 | 60.00 | 19.02
43 |  |  |  | 7F20/8230/3100 | Finder Filter fan, size 3. 230VAC air volume 100 m3/h. Rated power 22 W | 2 | 89.23 | 60.00 | 71.38
44 |  |  |  | 7F20/9024/3100 | Finder Filter fan, size 3. 24VDC air volume 100 m3/h. Rated power 22 W | 2 | 98.9 | 60.00 | 79.12
45 |  |  |  | 7F02/0000/3000 | Finder Exhaust filter, size 3 | 4 | 29.38 | 60.00 | 47.01
46 |  |  |  | 7F20/8230/4400 | Finder 7F SERIES Filter Fan, 230V AC, 70W Size | 2 | 265.23 | 55.00 | 238.71
47 |  |  |  | 7F20/9024/4250 | Finder 7F Series Filter Fan, 24V DC, 43W | 2 | 177.17 | 50.00 | 177.17
48 |  |  |  | 7F02/0000/4000 | Finder 7F Series - Exhaust filters Size 4 | 4 | 35.01 | 60.00 | 56.02
49 |  |  |  | 7F2082305550 | Finder 7F fan size 5 230v 550/605 m3/h | 2 | 330.1 | 60.00 | 264.08
50 |  |  |  | 7F0200005000 | Finder size 5 Filter | 2 | 54.86 | 60.00 | 43.89
51 |  |  |  | 7T8100002303 | FINDER 0-60deg THERMOSTAT NO CONTACT Panel thermostat - 35 mm rail (EN 60715) mount, NO (nPDT-NO), 1 pole, 10 A, Standard | 4 | 17.67 | 50.00 | 35.34
52 |  |  |  | 7T8100002403 | FINDER 0-60deg THERMOSTAT NC CONTACT | 4 | 17.67 | 50.00 | 35.34
53 |  |  |  | 7L46/0024/2100 | Finder LED panel light 1200 lumens 24v | 5 | 79.31 | 45.00 | 218.1
54 |  |  |  | NSYDPA4 | SCHNEIDER Document Pocket A4 - D22 22mm Deep REF ENN21322 | 10 | 16.54 | 40.00 | 99.24
55 |  |  |  | NSYDPA44 | SCHNEIDER A4 Document Pocket D40 40mm Deep REF ENN21323 | 5 | 17.65 | 40.00 | 52.95
56 |  |  |  | 7H5102300050 | Finder 7H Series - Panel Heaters Panel Heaters - Safe touch, vertical position, 120 ...230 V, AC (50/60 Hz)/DC, 50 W | 4 | 68.2 | 50.00 | 136.4
57 |  |  |  | 7H51/0230/0100 | Finder 7H Series - Panel Heaters | 2 | 96.75 | 50.00 | 96.75
58 |  |  |  | A9F43116 | SCHNEIDER ACTI9 IC60N 1P 16A B MCB | 60 | 8.34 | 50.00 | 250.2
59 |  |  |  | A9F43120 | SCHNEIDER ACTI9 IC60N IP 20A B MCB | 60 | 8.34 | 50.00 | 250.2
60 |  |  |  | A9F43132 | SCHNEIDER ACTI9 IC60N 1P 32A MCB CURVE B | 40 | 8.34 | 50.00 | 166.8
61 |  |  |  | A9F43163 | Schneider ACTI9 IC60N 1P 63A B MCB | 10 | 13.01 | 30.00 | 91.07
62 |  |  |  | A9F44106 | SCHNEIDER single pole C curve MCB 6 amp | 20 | 8.34 | 50.00 | 83.4
63 |  |  |  | A9F44110 | SCHNEIDER single pole C curve MCB 10 amp | 40 | 8.34 | 50.00 | 166.8
64 |  |  |  | A9F44116 | SCHNEIDER single pole C curve MCB 16 amp | 40 | 8.34 | 50.00 | 166.8
65 |  |  |  | A9F44120 | SCHNEIDER single pole C curve MCB 20 amp | 40 | 8.34 | 50.00 | 166.8
66 |  |  |  | A9F44125 | SCHNEIDER single pole C curve MCB 25 amp | 40 | 8.34 | 50.00 | 166.8
67 |  |  |  | A9F44132 | SCHNEIDER single pole C curve MCB 32 amp | 40 | 8.34 | 50.00 | 166.8
68 |  |  |  | A9F44140 | SCHNEIDER single pole C curve MCB 40 amp | 20 | 8.34 | 50.00 | 83.4
69 |  |  |  | A9F44150 | SCHNEIDER single pole C curve MCB 50 amp | 6 | 9.05 | 50.00 | 27.15
70 |  |  |  | A9F44163 | SCHNEIDER single pole C curve MCB 63 amp | 6 | 9.12 | 50.00 | 27.36
71 |  |  |  | A9F45110 | SCHNEIDER single pole D curve MCB 10 amp | 4 | 12.98 | 50.00 | 25.96
72 |  |  |  | A9F45116 | SCHNEIDER single pole D curve MCB 16 amp | 4 | 12.98 | 50.00 | 25.96
73 |  |  |  | A9F45120 | SCHNEIDER single pole D curve MCB 20 amp | 4 | 12.98 | 50.00 | 25.96
74 |  |  |  | A9F45125 | SCHNEIDER single pole D curve MCB 25 amp | 4 | 12.98 | 50.00 | 25.96
75 |  |  |  | A9F45132 | SCHNEIDER single pole D curve MCB 32 amp | 4 | 12.98 | 50.00 | 25.96
76 |  |  |  | A9F44206 | SCHNEIDER DOUBLE POLE C CURVE MCB 6 AMP | 4 | 34.95 | 50.00 | 69.9
77 |  |  |  | A9F44210 | SCHNEIDER double pole C curve MCB 10 amp | 4 | 30.54 | 50.00 | 61.08
78 |  |  |  | A9F44216 | SCHNEIDER double pole C curve MCB 16 amp | 4 | 30.54 | 50.00 | 61.08
79 |  |  |  | A9F54220 | SCHNEIDER Acti9 20A 2P 10kA C60H MCB Curve (Replaces C60HC220) | 4 | 54.26 | 30.00 | 151.93
80 |  |  |  | A9F44225 | SCHNEIDER double pole C curve MCB 25 amp | 4 | 34.51 | 50.00 | 69.02
81 |  |  |  | A9F43316 | SCHNEIDER Acti9 IC60N 3P 16A B Curve MCB | 40 | 39.44 | 50.00 | 788.8
82 |  |  |  | A9F53332 | SCHNEIDER Acti9 32A 3P 10kA C60H MCB Curve (Replaces C60HB332) | 40 | 76.19 | 30.00 | 2133.32
83 |  |  |  | A9F44306 | SCHNEIDER triple pole C curve MCB 6 amp | 10 | 39.44 | 50.00 | 197.2
84 |  |  |  | A9F44310 | SCHNEIDER triple pole C curve MCB 10 amp | 10 | 39.44 | 50.00 | 197.2
85 |  |  |  | A9F44316 | SCHNEIDER triple pole C curve MCB 16 amp | 20 | 39.44 | 50.00 | 394.4
86 |  |  |  | A9F44320 | SCHNEIDER triple pole C curve MCB 20 amp | 20 | 39.44 | 50.00 | 394.4
87 |  |  |  | A9F44325 | SCHNEIDER triple pole C curve MCB 25 amp | 10 | 39.44 | 50.00 | 197.2
88 |  |  |  | A9F44332 | SCHNEIDER triple pole C curve MCB 32 amp | 20 | 39.44 | 50.00 | 394.4
89 |  |  |  | A9F44340 | SCHNEIDER triple pole C curve MCB 40 amp | 5 | 39.44 | 50.00 | 98.6
90 |  |  |  | A9F44350 | SCHNEIDER triple pole C curve MCB 50 amp | 5 | 40.68 | 50.00 | 101.7
91 |  |  |  | A9F44363 | SCHNEIDER triple pole C curve MCB 63 amp | 5 | 65.68 | 50.00 | 164.2
92 |  |  |  | A9F45316 | SCHNEIDER triple pole D curve MCB 16 amp | 3 | 47.41 | 50.00 | 71.12
93 |  |  |  | A9F45320 | SCHNEIDER triple pole D curve MCB 20 amp | 3 | 47.41 | 50.00 | 71.12
94 |  |  |  | A9DG3610 | Schneider A9 iCV40N 1PN B 10A 30mA A RCBO | 25 | 38.93 | 50.00 | 486.63
95 |  |  |  | A9DG3616 | Schneider A9 iCV40N 1PN B 16A 30mA A RCBO | 40 | 38.93 | 50.00 | 778.6
96 |  |  |  | A9D56620 | SCHNEIDER 2 POLE RCD B TYPE 30MA | 10 | 39.05 | 50.00 | 195.25
97 |  |  |  | A9D56632 | SCHNEIDER IDPN N VIGI 32A B 30MA A TYPE RCBO | 5 | 39.05 | 50.00 | 97.63
98 |  |  |  | A9DC3610 | Schneider A9 iCV40N 1PN C 10A 30mA A RCBO | 5 | 38.93 | 50.00 | 97.33
99 |  |  |  | A9DC3616 | Schneider A9 iCV40N 1PN C 16A 30mA A RCBO | 5 | 38.93 | 50.00 | 97.33
100 |  |  |  | A9DC3620 | Schneider A9 iCV40N 1PN C 20A 30mA A RCBO | 5 | 38.93 | 50.00 | 97.33
101 |  |  |  | A9R21463 | SCHNEIDER ACTI9 IID 4P 63A 30MA A-TYPE RCD | 6 | 86.37 | 50.00 | 259.11
102 |  |  |  | A9R21480 | SCHNEIDER ACTI9 IID 4P 80A 30MA A-TYPE RCD | 6 | 104.24 | 50.00 | 312.72
103 |  |  |  | A9C20732 | SCHNEIDER Acti9 2N/O 25A 240V Contactor (Replaces 15959) | 10 | 24.85 | 50.00 | 124.25
104 |  |  |  | A9C20736 | SCHNEIDER ACTI9 2N/C 25A 240V CONTACTOR | 5 | 27.39 | 50.00 | 68.48
105 |  |  |  | A9C20842 | SCHNEIDER Acti9 40A 2P CT2000 Contactor 240V | 5 | 41.44 | 50.00 | 103.6
106 |  |  |  | A9C20834 | SCHNEIDER Acti9 25A 4N/O CT2000 Contactor 240VAC Coil(Replaces 15962) | 4 | 34.78 | 50.00 | 69.56
107 |  |  |  | A9C20837 | SCHNEIDER 25A 4N/C CT2000 Contactor 240VAC Coil(Replaces 15963) | 4 | 34.78 | 50.00 | 69.56
108 |  |  |  | A9C20864 | SCHNEIDER Acti9 4N/O 63A 240V Contactor (Replaces 15973) | 2 | 107.51 | 50.00 | 107.51
109 |  |  |  | A9A26924 | SCHNEIDER Acti9 C60H/RMG OF Auxiliary Contact (Replaces 26924) | 50 | 35.88 | 50.00 | 897
110 |  |  |  | A9XPCM04 | SCHNEIDER ACTi9 set of 4 Connectors | 10 | 48.78 | 50.00 | 243.9
111 |  |  |  | A9XPH112 | SCHNEIDER A9XPH112 COMB BUSBAR 100A 12 | 10 | 13.27 | 50.00 | 66.35
112 |  |  |  | A9XPH124 | SCHNEIDER Comb Busbar 1P 100A 24 MOD (Replaces Obsolete 14891) | 10 | 13.54 | 50.00 | 67.7
113 |  |  |  | A9XPH224 | SCHNEIDER COMB BUSBAR 2P 100A 24 MOD | 10 | 33.12 | 50.00 | 165.6
114 |  |  |  | A9XPH312 | SCHNEIDER COMB BUSBAR CONNECTOR 3P 100A | 10 | 23.02 | 50.00 | 115.1
115 |  |  |  | A9XPH324 | SCHNEIDER ACTI 9 COMB BUSBAR 3P 100A 24MOD. | 10 | 42.17 | 50.00 | 210.85
116 |  |  |  | A9XPH424 | SCHNEIDER Acti9 Comb Busbar 4P 10 | 10 | 44.27 | 50.00 | 221.35
117 |  |  |  | LP1SK0600BD | SCHNEIDER CONTACTOR | 50 | 31.82 | 40.00 | 954.6
118 |  |  |  | LA1SK10 | SCHNEIDER CONTACT BLOCK 1 PWR POLE | 40 | 11.53 | 40.00 | 276.72
119 |  |  |  | MITSLEVY | Mitsubishi Freight Levy 2.00% | 1 | 5.01 | 0 | 5.01
1 | 07/03/2022 | 1106805 | Demesne | TRCA0.5BLUE | HO5V2K Tri-Rated Cable 0.5 Blue | 200 | 0.19898 | 30.00% | 27.86
2 |  |  |  | TRCA0.75BROWN | Ho5V2K Tri-Rated Cable 0.75 Brown Spool | 100 | 0.26746 | 30.00% | 18.72
3 |  |  |  | TRCA0.75GREY | Ho5V2K Tri-Rated Cable 0.75 Grey | 400 | 0.26746 | 30.00% | 74.89
4 |  |  |  | TRCA0.75BLUE | Ho5V2K Tri-Rated Cable 0.75 Blue | 400 | 0.26746 | 30.00% | 74.89
5 |  |  |  | TRCA0.75GREEN/YELLOW | H05V2K Trirated Cable 0.75Mm Green/Yellow | 400 | 0.26746 | 30.00% | 74.89
6 |  |  |  | TRCA1.5BROWN | Ho7V2K Tri-Rated Cable 1.5 Brown | 300 | 0.46596 | 30.00% | 97.85
7 |  |  |  | TRCA1.5GREY | Ho7V2K Tri-Rated Cable 1.5 Grey | 300 | 0.46596 | 30.00% | 97.85
8 |  |  |  | TRCA1.5BLUE | Ho7V2K Tri-Rated Cable 1.5 Blue | 300 | 0.46596 | 30.00% | 97.85
9 |  |  |  | TRCA1.5GREENYELLOW | Ho7V2K Tri-Rated Cable 1.5 Earth | 100 | 0.46596 | 30.00% | 32.62
10 |  |  |  | TRCA2.5BROWN | Ho7V2K Tri-Rated Cable 2.5 Brown Spool | 300 | 0.72843 | 30.00% | 152.97
11 |  |  |  | TRCA2.5GREY | Ho7V2K Tri-Rated Cable 2.5 Grey Spool | 500 | 0.72843 | 30.00% | 254.95
12 |  |  |  | TRCA2.5BLUE | Ho7V2K Tri-Rated Cable 2.5 Blue Spool | 300 | 0.72843 | 30.00% | 152.97
13 |  |  |  | TRCA4.0BROWN | Ho7V2K Tri-Rated Cable 4.0 Brown | 300 | 0.89148 | 30.00% | 187.21
14 |  |  |  | TRCA4.0BLACK | Ho7V2K Tri-Rated Cable 4.0 Black Spool | 300 | 0.89148 | 30.00% | 187.21
15 |  |  |  | TRCA4.0BLUE | Ho7V2K Tri-Rated Cable 4.0 Blue | 300 | 0.89148 | 30.00% | 187.21
16 |  |  |  | TRCA4.0GREENYELLOW | HO7V2K Tri-Rated Cable 4.0 Earth | 200 | 0.89148 | 30.00% | 124.81
17 |  |  |  | TRCA6.0BROWN | Ho7V2K Tri-Rated Cable 6.0 Brown Spool | 400 | 1.6497 | 30.00% | 461.93
18 |  |  |  | TRCA6.0BLACK | Ho7V2K Tri-Rated Cable 6.0 Black Spool | 400 | 1.6497 | 30.00% | 461.93
19 |  |  |  | TRCA6.0GREY | Ho7V2K Tri-Rated Cable 6.0 Grey | 400 | 1.6497 | 30.00% | 461.93
20 |  |  |  | TRCA6.0BLUE | Ho7V2K Tri-Rated Cable 6.0 Blue | 400 | 1.6497 | 30.00% | 461.93
21 |  |  |  | TRCA6.0GREENYELLOW | Ho7V2K Tri-Rated Cable 6.0 Earth | 100 | 1.6497 | 30.00% | 115.48
22 |  |  |  | TRCA16.0BLACK | Ho7V2K Tri-Rated Cable 16.0 Black | 90 | 4.726 | 30.00% | 297.74
23 |  |  |  | TRCA25.0BLACK | Ho7V2K Tri-Rated Cable 25.0 Black | 30 | 7.0991 | 30.00% | 149.08
24 |  |  |  | TRCA35.0BLACK | Ho7V2K Tri-Rated Cable 35.0 Black | 30 | 9.9192 | 30.00% | 208.3
25 |  |  |  | TRCA70.0BLACK | Ho7V2K Tri-Rated Cable 70.0 Black | 30 | 21.1934 | 30.00% | 445.06
26 |  |  |  | CNF66 | Cable Lug 6sq-6mm Copper | 50 | 0.38878 | 25.00% | 14.58
27 |  |  |  | CNF1010 | Cable Lug 10sq-10mm Copper | 50 | 0.45678 | 25.00% | 17.13
28 |  |  |  | CNF1610 | Cable Lug 16sq-10mm Copper | 50 | 0.53957 | 25.00% | 20.23
29 |  |  |  | CNF2510 | Cable Lug 25sq-10mm Copper | 50 | 0.72723 | 25.00% | 27.27
30 |  |  |  | CNF3510 | Cable Lug 35sq-10mm Copper | 50 | 0.92392 | 25.00% | 34.65
31 |  |  |  | CNF5010 | Cable Lug 50sq-10mm Copper | 50 | 1.2047 | 25.00% | 45.18
32 |  |  |  | CNF7010 | Cable Lug 70sq-10mm Copper | 50 | 1.9809 | 25.00% | 74.28
33 |  |  |  | CNF9510 | Cable Lug 95sq-10mm Copper | 50 | 2.445 | 25.00% | 91.69
34 |  |  |  | CARR | Carriage Free JMC | 1 | 0.0001 | 0 | 0
1 | 29.08.2022 | 413306129 | Radionics | 534446 | Yel M5 crimp ring terminal,2.5-6.5sq.mm | 200 | 0.247 | 0 | 49.38
2 |  |  |  | 8399875 | Hand Held Proximity Switch Tester | 1 | 86.76 | 0 | 86.76